Figure S1. Immunohistochemistry of disease-specific αSyn detected in FFPE subjects. (a) Temporal cortex of LBD 1; (b) Substantia nigra of LBD 1; (c) Frontal cortex of LBD 2; (d) Frontal cortex of LBD 3; (e) Frontal cortex of LBD 4; (f) Frontal cortex of LBD 5; (g) Temporal cortex of LBD 6; (h) Temporal white matter of LBD 6; (i) Cerebellum of MSA 1; (j) Cerebellum of MSA 2; (k) Parietal cortex of control 1; (l) Parietal white matter of control 1. Scale bar represents 50 μm.

Figure S2. Intra-subject heterogeneity of αSyn seeding activity in FFPE LBD human brain tissue archived for < 2 years and > 20 years. (a) Variability in αSyn seeding activity between the FFPE temporal cortex and substantia nigra of the test LBD subject, archived for < 2 years. Variability can also be observed between the frontal cortex of 4 additional LBD subjects, archived for > 20 years. SAA reactions were seeded with total protein from PBS-soluble fraction extracted from 2-mm FFPE micro-punch; (b) Variable AUC, T50 and maximum ThT of αSyn seeding across the different LBD subjects, whether archived for < 2 years or > 20 years.

Table S1. Summary of optimized protein extraction protocol for FFPE brain tissue

| Type | Step | Protocol |
| --- | --- | --- |
| Tissue Collection: 45-µm Sections on Slide | 1. | Using a microtome, cut 10 sections of the pre-chilled and trimmed FFPE block at 4.5-µm-thickness and float the paraffin ribbon on 40°C water bath with ultra-pure H2O. |
|  | 2. | Using a tweezer to separate the ribbons, pick out the floating FFPE sections with a positively charged microscope slide and dry in a slide rack, overnight at room temperature. |
| Tissue Collection: 2-mm Micro-Punch | 1. | Place the FFPE block with the corresponding base mold into the paraffin-melting chamber in the embedding machine, or into a 62°C oven for 10 minutes to melt the wax. |
|  | 2. | Using a disposable biopsy punch with or without plunger, carefully make a micro-puncture of the desired region on the FFPE block and lift the biopsy punch in a slow twisting motion. Release the sample into the C-tube. |
| Deparaffinization | 1. | 2X 10 minutes fresh xylene, 2X 5 minutes fresh 100% ethanol, 5 minutes 95% ethanol, 5 minutes 80% ethanol, 5 minutes 70% ethanol, 5 minutes 50% ethanol, 5 minutes ultra-pure H2O. For sections in slide racks, use a staining dish containing xylene and ethanol. For micro-punches, add 1-2 mL of the deparaffinization and rehydration solutions into the C-tube using a micro-pipette. |
|  | 2. | For sections, use a microtome blade coated in Sigmacote (low protein-binding) to carefully scrape the sections and place in the C-tubes. |
| Antigen Retrieval & Dissociation | 1. | Follow manufacturer’s instructions with slight modification: |
|  |  | After completing the dissociation step, briefly centrifuge the C-tubes and do not use a filter to discard the dissociated tissue. Instead, add 1 mL of ice-cold 1X PBS spiked with protease inhibitor, transfer to 1.5 mL low protein binding tubes and centrifuge for 5 minutes, 4°C at 5000 g. Carefully discard the supernatant and resuspend in 1 mL ice-cold 1X PBS spiked with protease inhibitor. Centrifuge for 5 minutes, 4°C at 5000 g and discard the supernatant. |
| Protein Extraction | 1. | Tare the scale after measuring an empty 1.5 mL low protein binding tube. Weigh the tissue pellet and record the measurement. |
|  | 2. | Add 10% w/v ice-cold 1X PBS spiked with protease inhibitor into the low protein-binding tubes and re-suspend by pipetting up and down. Transfer the re-suspended pellets into the low protein-binding tissue homogenizing tubes and homogenize using Beadbeater at high speed for 30 seconds. Place tubes on ice and repeat 2 additional times, at 5-minute intervals. |
|  | 3. | Transfer the homogenized mixture into 1.5 mL low protein-binding Eppendorf tubes using low protein-binding micro-pipette tips and place on ice for 10 minutes followed by vortexing. Repeat 3 additional times. |
|  | 4. | Centrifuge the tubes for 10 minutes, 4°C at 10000 g. Transfer the supernatant into a clean 1.5 mL low protein binding tube, mix well and aliquot into 0.5 mL low protein binding tubes as necessary. Perform BCA to quantify the proteins in each sample. |