Table S1

|  |  |
| --- | --- |
| Linearity: correlation coefficient (*r*) | 0.999 |
| Range (mg/ml) | 5.0-200.0 |
| Calibration equation | y = 37204.1x – 2356.8 |
| Intra-day precision CV (%) range | 2.1-1.3 |
| Inter-day precision CV (%) range | 3.4-1.9 |
| Accuracy (%) + SD | 100.2±1.4 |
| Stability at room temperature for 24 h (CV%) | 2.3 |