Figure S1. Establishing optimal probe, primer and Taq polymerase concentrations with B47 and the CoV-E assay. A. Amplification plots and Cq values recorded with a range of probe concentrations using protocol P1. B. Amplification plots and Cq values recorded with a range of primer concentrations using protocol P1. C. Amplification plots and replicate Cq values recorded with 0.06 and 0.12U of MyTaq per 2.5µL reaction across the denaturation gradient protocol P2. D. Amplification plots and replicate Cq values recorded with 0.06 and 0.12U of MyTaq per 2.5µL reaction across the polymerisation gradient protocol P3.

Figure S2. Amplification of SARS-CoV-2 cDNA with assay CoV-E, B47 and MyTaq run on BioRad CFX Connect or BMS Mic qPCR instruments.  A. ∆Cq values (±95% CI) recorded at the indicated cycling temperatures versus protocol P1 for the combined runs on the BioRad instrument. Cq values are listed in the supplementary data file. B. Amplification plots and Cq values for standard (P8) and fast protocols (P9) on the BMS Mic. C. ∆Cq values (±95% CI) recorded for P9 compared to P8.

Figure S3.  Amplification of SARS-CoV-2 PCR amplicons with DNA primers, Pentabase primers (PB), Probe G and B47. A. Amplification plots and Cqs recorded on a denaturation gradient using protocol P10. B. Amplification plots and Cqs recorded on a polymerisation gradient using protocol P3. C. ∆Cq values (±95% CI) recorded at the indicated cycling temperatures versus protocol P1 for the DNA (blue) and Pentabase (brown) primers.

Figure S4.  Linearity and efficiency of 4E-2 (G) qPCR assay. A. Amplification plots and Cq values recorded under standard PCR conditions with SensiFast master mix. B. Amplification plots and Cq values recorded under reduced ∆T conditions with buffer 47 and MyTaq polymerase. C. Standard curves for SensiFast (blue) and B47 (pink) with 95% CI.

# Figure S5.  Amplification of pathogen gDNA on denaturation and polymerisation gradients with B27 on a BioRad CFX Connect. A. Amplification plots and Cqs recorded with C. auris gDNA on a denaturation gradient using protocol P12. B. Amplification plots and Cqs recorded with C. auris gDNA on a polymerisation gradient using protocol P13. C. Amplification plots and Cqs recorded with A. fumigatus gDNA on a denaturation gradient using protocol P12. D. Amplification plots and Cqs recorded with A. fumigatus gDNA on a polymerisation gradient using protocol P13. E. Amplification plots and Cqs recorded with Acanthamoeba castelanii gDNA on a denaturation gradient using protocol P12. F. Amplification plots and Cqs recorded with Acanthamoeba castelanii gDNA on a polymerisation gradient using protocol P13.

Figure S6.  2-step RT-qPCR analysis of human breast cancer with  mRNA reverse transcribed using three RTs in buffer 47 or their native buffers on a Hybaid PrimePro 48 qPCR instrument. A. GAPDH amplification plots, melt curves (inset) and Cq values recorded for each of the mRNA synthesised with native buffers or buffer 47. B. Plot of ∆Cq values (±95% CI) recorded for each of the mRNA samples reverse transcribed with buffer 47 versus the Cqs recorded from mRNA samples reverse transcribed with native buffers. C. TSG-6 and HGF-1 amplification plots and Cq values recorded for each of the cDNAs synthesised with native buffers or buffer 47 and amplified using Luna master mix. D. Plot of ∆Cq values (±95% CI) recorded for each of the mRNA samples reverse transcribed with buffer 47 versus the Cqs recorded from mRNA samples reverse transcribed with native buffers.

Figure S7.  2-step RT-qPCR reactions with SARS-CoV-2 gRNA reverse transcribed with native RT buffers or B47 and using the CoV-E assay. A. Amplification plots and Cq values recorded for mRNA reverse transcribed with EpiScript (ES) in its native buffer (n=7) or B47 (n=7) and amplified with SensiFast on a Hybrid PrimePro 48 instrument. B. ∆Cq values (±95% CI) recorded for the combined mRNA samples reverse transcribed with buffer 47 versus the Cqs recorded from mRNA samples reverse transcribed with native buffers.  C. Amplification plots recorded for mRNA reverse transcribed with UltraScript-2 (US-2) in its native buffer (n=4) or B47 (n=4) and amplified with B47 on a BioRad Opus instrument. D. ∆Cq values (±95% CI) recorded for the combined  mRNA samples reverse transcribed with buffer 47 versus the Cqs recorded from mRNA samples reverse transcribed with native buffers.

Figure S8.  1-step RT-qPCR reactions with human breast cancer mRNA using  NEB Luna or EpiScript/B47 with MyTaq or GoTaq or ExTaq DNA polymerases 1-step master mixes. A. Amplification plots and Cq values for TSG-6 (FAM) and HGF-1 (HEX) on the PrimePro 48. B. Amplification plots and Cq values for TSG-6 (FAM) and HGF-1 (HEX) on the BioRad CFX Connect. C. Plot of Cq values (±SD) for TSG on the PrimePro 48. D. Plot of Cq values (±SD) for TSG on the BioRad CFX Connect. E. Plot of Cq values (±SD) for HGF-1 on the PrimePro 48. F. Plot of Cq values (±SD) for HGF-1 on the BioRad CFX Connect.

Figure S9.  Comparison of 1-step RT-qPCR reactions carried out targeting human breast cancer RNA using duplex TSG-6/HGF-1 assays with and without a dedicated RT step. A. 1-step RT-qPCR protocol (R2) run on a BioRad CFX Connect. B. Amplification plots and Cq values for PCRBio Clara, NEB Luna and B47/ES/MyTaq 1-step master mixes using the standard protocol. C. 1-step RT-qPCR protocol R3 without a dedicated RT step. D. Amplification plots and Cq values for PCRBio Clara, NEB Luna and B47/ES/MyTaq 1-step master mixes using the modified protocol. E. ∆Cq values (±95% CI) of the reactions carried out without a dedicated RT step (RT-, protocol R3) versus those carried out with a dedicated RT step (RT+, protocol R2).